## Overview
Instrument | Place | Delivery | Logger | Logger_ID | Head_ID | Destination | Centroid_1625nm | Peak_1625nm | Filter_1625nm | Photodetector | Current_location | l_command | u_command | Location_1 | OOB | Licor/Lamp | Field
[7 empty] | From charles | From patrick
632 | mobile_1 | 2016-06-12 | 372 | $B423 | $5E86 | mobile_1->GWN | 1624.15 | 1623.597 | 1A | 5476 | GWN | L 15 | U 10 | TCAP, RUT, WFIP2 | 6/28/2012; 10/15/2012
633 | mobile_1 | 2016-06-12 | 373 | $EBFB | $AD23 | mobile_1->GWN | 1623.14 | 1623.025 | 4A | 5480 | GWN | L -4 | U -11 | TCAP, RUT, WFIP2 | 6/28/2012; 10/15/2012
634 | ARM | 2016-08-12 | 374 | $C37E | $C287 | ARM | NA | NA | NA | NA | SKA | L -2 | U 5 |  | 2012-10-15
635 | ARM | 2016-08-12 | 375 | $B351 | $248C | ARM | NA | NA | NA | NA | SKA | L 7 | U 48 |  | 2012-10-15
648 | mobile_2 | 2016-01-14 | 390 | $BF4F | $97A4 | mobile_2 | 1623.58 | 1623.687 | 1B | 6644 | MLO | L 4 | U -41 | SLV | 2016-09-26
649 | mobile_2 | 2016-01-14 | 391 | $C8C1 | $19F2 | mobile_2 | 1623.83 | 1623.889 | 5B | 6645 | SKA | L 4 | U 32 | SLV | 2016-09-26
650 | surfrad | 2016-01-14 | 392 | $EC88 | $F3CE | FPK | 1623.71 | 1623.766 | 7B | 6646 | FPK | L 4 | U-21 | PST | 9/8/2015; 10/01/2016 | 2016-10-07
651 | surfrad | 2016-01-14 | 393 | $F016 | $ED2B | FPK | 1623.97 | 1623.983 | 9B | 6648 | FPK | L 6 | U-30 | SXF | 2016-10-01 | 2016-10-07
659 | surfrad | 2016-04-15 | 409 | $D6EF | $3D6D | SXF | 1623.68 | 1623.658 | 8B |  | SXF | L 5 | U 31 |  | 6/6/2016 |  | 2016-06-06
660 | surfrad | 2016-04-15 | 410 | $D824 | $3126 | TBL | 1623.43 | 1623.506 | 10B |  | TBL | L 5 | U ? |  | 2015-06-19
661 | surfrad | 2016-04-15 | 411 | $AA94 | $C51D | TBL | 1626.10 | 1626.494 | 2C |  | TBL | L 10 | U ? |  | 6/19/2015, 6/22/15
662 | surfrad | 2016-04-15 | 412 | $1B3D | $33EA | PST->CUCF | 1625.73 | 1626.061 | 3C |  | PST | L 17 | U ? |  | 2015-06-02
663 | surfrad | 2016-04-15 | 413 | $314B | $BB47 | GWN->CUCF | 1625.56 | 1626.017 | 4C |  | CUCF | L 13 | U ? |  | 2015-06-02
664 | surfrad | 2016-04-15 | 414 | $2932 | $495D | PST | 1625.72 | 1626.104 | 5C |  | PST | L 3 | U ? |  | 2015-06-19
665 | surfrad | 2016-04-15 | 415 | $21D9 | $26B7 | GWN->CUCF->PSU | 1625.72 | 1626.055 | 6C |  | CUCF | L -1 | U -13 |  | 2015-06-02
669 | surfrad | 2016-08-15 | 420 | $2089 | $718C | DRK | 1623.47 | 1623.485 | 2B | 7324 | DRA | L 12 | U ? |  | 2015-09-04 | 2015-11-02 | 2015-11-02
670 | surfrad | 2016-08-15 | 421 | $5A34 | $0AA0 | DRK | 1623.71 | 1623.687 | 3B | 7326 | DRA | L 13 | U ? |  | 2015-09-04 | 2015-11-02 | 2015-11-02
671 | surfrad | 2016-08-15 | 422 | $6468 | $EB46 | SXF | 1623.26 | 1623.889 | 4B | 7327 | SXF | L -2 | U -7 |  | 2016-06-06 |  | 2016-06-06
672 | surfrad | 2016-08-15 | 423 | $377D | $DAB8 | BON | 1622.90 | 1622.872 | 10D | 7328 | BON | L 15 | U ? |  | 9/8/15, 6/3/2016 |  | 2015-11-13
673 | surfrad | 2016-11-15 | 424 | $C956 | $B512 | BON | 1622.96 | 1622.872 | 11D | 9562 | BON | L 21 | U 38 |  | 9/8/15, 6/3/2016 |  | 2015-11-13
688 | mobile | 2020-12-11 |  | $59B3 | $9998 | Mobile/Spare |  | 1622.689 | 3A | A4828 | YES
689 | mobile | 2020-12-11 |  | $8636 | $01A3 | Mobile/Spare |  | 1623.203 | 6B | A4829 | YES
453 | mobile_uv |  |  | $B9FB | $498F | DSRC | NA | NA | NA |  | MLO | L -106 | U -10
584 | surfrad_615 |  |  |  |  | DSRC | NA | NA | NA |  | CUCF | L -40 | U 15
Repeat
Note: Color denotes separate batches/shipments. Orange and purple are Barr Filters and Green and Blue are Intor Filters.
Note: Loggers and heads are not necessarily kept with the original heads
Note: Where/What company do the filters come from?
*Note delivery date formats are messed up,e.g. day=year.

## 451
Purchased SN 451 w/stand from eBay July 2024
No logger enclosure or cables included
Unknown working condition
Unit appears to have been run outside for a period. Some fading of black anodizing on artificial horizon

## 453
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-06-23 | 2014-08-20 | BAO | Archive | DAQ-CO | [9 empty] | DAQ-CO
2014-09-15 |  | SKA | mfr453_20141003.xmd; mfr453_20141104.xmd; mfr453_20141114.xmd; mfr453_20141201.xmd; mfr453_20141218.xmd; mfr452_20150102.xmd | Langley | [9 empty] | 1/2/2015 - 3/10/2015 bad
2016-04-22 | 2018-10-15 | MLO | Archive /data/Inst/MFR/Project/ml11/mfrsr/raw | Langley | [9 empty] | 2/14/2018 Gary started taking care of the data collection
2018-10-16 |  | CUCF |  | Calibration
2020-03-12 | 2020-03-24 | SKA? | /data/Inst/MFR/Project/453/mfrsr/raw/2020 | Compare to Brewer (not sure dates)
2020-03-26 | present | TMTF | /data/Inst/MFR/Project/453/mfrsr/raw/ | Compare to Brewer/Wildfire Studies (not sure dates)
THIS NEEDS TO BE UPDATED!

## 607
Brookhaven MFRSR
Transferred to us on 20 April 2016
S/N 607 (Pretty sure 607, but maybe not 100% sure)
Logger $3401 (positive this is the Brookhaven logger)

## 559
Thermopile MFRSR (Standard filters)
Purchased from eBay 9 Nov 2019 (Logger purchased, 3 Dec 2019)
S/N 559
Logger $1F92

## 584
MFRSR purchased around 2013
Ran at DRA until the 1625 instrument went in
SN 584, Hex 01C7
Logger E6DE

## 633
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2012-03-29 | 2012-03-29 | YES | [11 empty] | Order date
2012-06-26 | 2012-06-26 | Cape Cod, MA |  | Delivery at TCAP | [9 empty] | Uses Barr filters or first batch of Intor filters
2012-06-28 | 2012-06-29 | CapeCod, MA | mfr633_201206291705.xmd; mfr632_201206291730.xmd; mfr633_201206302059.xmd; mfr632_201206302108.xmd | side-by-side; OOB | [9 empty] | Pre-TCAP
2012-06-28 | 2012-09-07 | Cape Cod, MA |  | TCAP
2012-09-06 | 2012-09-07 | CapeCod, MA | mfr632_201209071952.xmd; mfr632_201209081330.xmd; mfr633_201209081335.xmd | side-by-side | [9 empty] | Post-TCAP
2012-09-13 | 2012-12-05 | DSRC, CO | mfr633_201209172011.xmd; mfr632_201209181933.xmd; mfr632_201209202230.xmd; mfr633_201209202245.xmd; mfr632_201209251600.xmd; tsr632.121009.xmd; tsr633.121009.xmd; tsr632_121023.xmd; tsr633_121023.xmd; tsr632121101.xmd; tsr633_121101.xmd; tsr632_121113.xmd; tsr633_121113.xmd; tsr632_20121126.xmd; tsr633_20121126.xmd; tsr632.21205.xmd; tsr633.121205.xmdl | side-by-side | [9 empty] | Pre DAQ-CA (Power issues on/off)
2012-10-15 | 2012-10-15 | DSRC, CO |  | OOB
2013-01-09 | 2013-02-15 | Portervile, CA |  | DAQ-CA | [9 empty] | DAQ-CA
2013-06-26 | 2013-06-26 | DSRC, CO |  | Licor | [8 empty] | 632/633 | OOB
2013-07-12 | 2013-07-30 | TMTF, CO | mfr632_20130715.xmd; mfr633_20130715.xmd; mfr632_20130731.xmd; mfr633_20130731.xmd | [10 empty] | Albedo Study, 90 degrees
2013-07-30 | 2013-07-30 | DSRC |  | Licor | [8 empty] | 633 | Joe's office; Pre DAQ-TX
2013-08-28 | 2013-09-26 | Smith Point, TX
2013-10-17 | 2013-10-17 | DSRC |  | Licor | [8 empty] | 633 | Joe's office; Post DAQ-TX
2013-10-21 | 2014-06-23 | SKA | tsr632_131113.xmd; tsr633_131113.xmd; mfr632_20140110.xmd; mfr633_20140110.xmd; mfr632_20140528.xmd; mfr633)20140528.xmd | Langley
2014-06-23 | 2014-08-20 | BAO |  | DAQ-CO | [8 empty] | 632/633 | DAQ-CO
2014-09-23 | 2014-09-23 |  |  | Licor | [8 empty] | 632/633 | Post DAQ-CO; Pre RUT
2014-10-08 | 2015-10-19 | RUT |  | SFIP | [8 empty] | 632/633
2016-01-12 | 2016-01-12 |  |  | Licor | [8 empty] | 632/633 | Post RUT, Pre WAS
2015-01-13 | 2016-01-26 | SKA | mfr632_20150114.xmd; mfr632_20150122.xmd | side-by-side
2016-01-26 | 2016-02-01 | CUCF |  | Laboratory_tests
2016-02-09 | 2017-05-09 |  |  | WFIP2
2017-05-15 | present | CUCF |  | Laboratory_tests
2017-05-24 | 2017-05-24 | CUCF |  | Licor with datalogger
2017-05-31 | present | GWN |  | Field | [8 empty] | 632/633 | MFRSR 663 was having problems with channel 860-nm. Therefore, 632/633 pair replaced 663/665 until further investigation. MFRSR/MFR10=632/633.

## 632
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2012-03-29 | 2012-03-29 | YES | [11 empty] | Order date
2012-06-26 | 2012-06-26 | Cape Cod, MA |  | Delivery at TCAP | [9 empty] | Uses Barr filters or first batch of Intor filters
2012-06-28 | 2012-06-29 | CapeCod, MA | mfr633_201206291705.xmd; mfr632_201206291730.xmd; mfr633_201206302059.xmd; mfr632_201206302108.xmd | side-by-side; OOB
2012-06-28 | 2012-09-07 | Cape Cod, MA |  | TCAP
2012-09-06 | 2012-09-07 | CapeCod, MA | mfr632_201209071952.xmd; mfr632_201209081330.xmd; mfr633_201209081335.xmd | side-by-side | [9 empty] | Post-TCAP
2012-09-13 | 2012-12-05 | DSRC, CO | mfr633_201209172011.xmd; mfr632_201209181933.xmd; mfr632_201209202230.xmd; mfr633_201209202245.xmd; mfr632_201209251600.xmd; tsr632.121009.xmd; tsr633.121009.xmd; tsr632_121023.xmd; tsr633_121023.xmd; tsr632121101.xmd; tsr633_121101.xmd; tsr632_121113.xmd; tsr633_121113.xmd; tsr632_20121126.xmd; tsr633_20121126.xmd; tsr632.21205.xmd; tsr633.121205.xmdl | side-by-side | [9 empty] | Pre DAQ-CA (Power issues on/off)
2012-10-15 | 2012-10-15 | DSRC, CO |  | OOB
2013-01-09 | 2013-02-15 | Portervile, CA |  | DAQ-CA | [9 empty] | DAQ-CA
2013-06-26 | 2013-06-26 | DSRC, CO |  | Licor | [8 empty] | 632/633 | OOB
2013-07-12 | 2013-07-30 | TMTF, CO | mfr632_20130715.xmd; mfr633_20130715.xmd; mfr632_20130731.xmd; mfr633_20130731.xmd | [10 empty] | Albedo Study, 90 degrees
2013-07-30 | 2013-07-30 | DSRC |  | Licor | [8 empty] | 633 | Joe's office; Pre DAQ-TX
2013-08-28 | 2013-09-26 | Smith Point, TX
2013-10-17 | 2013-10-17 | DSRC |  | Licor | [8 empty] | 633 | Joe's office; Post DAQ-TX
2013-10-21 | 2014-06-23 | SKA | tsr632_131113.xmd; tsr633_131113.xmd; mfr632_20140110.xmd; mfr633_20140110.xmd; mfr632_20140528.xmd; mfr633)20140528.xmd | Langley
2014-06-23 | 2014-08-20 | BAO |  | DAQ-CO | [8 empty] | 632/633 | DAQ-CO
2014-09-23 | 2014-09-23 | DSRC |  | Licor | [8 empty] | 632/633 | Post DAQ-CO; Pre RUT
2014-10-08 | 2015-10-19 | RUT |  | SFIP | [8 empty] | 632/633
2016-01-12 | 2016-01-12 | DSRC |  | Licor | [8 empty] | 632/633 | Post RUT, Pre WAS
2015-01-13 | 2016-01-26 | SKA | mfr632_20150114.xmd; mfr632_20150122.xmd | side-by-side | [8 empty] | 632/633
2016-01-26 | 2016-02-01 | CUCF |  | Laboratory_tests
2016-02-09 | 2017-05-09 | WAS |  | WFIP2
2017-05-15 | present | CUCF |  | Laboratory_tests
2017-05-24 | 2017-05-24 | CUCF |  | Licor with datalogger | [8 empty] | 632/633
2017-05-31 | present | GWN |  | Field | [8 empty] | 632/633 | MFRSR/MFR10

## 634
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
| Owned by ARM | [11 empty] | Uses Barr filters or first batch of Intor filters
2012-08-01 | 2015-08-01 | DSRC |  | Delivery
2012-09-17 | 2012-11-26 | SKA |  | Langley
Ask Joe for interim information
2015-07-16 | 2015-09-03 |  |  | Langley
2015-09-04 | 2015-09-26 | CUCF |  | Laboratory Characterizations
2015-09-03 | 2015-10-15 | PMOD |  | IFC Campaign
2015-10-27 |  | SKA | mfr634_20151102.xmd; mfr635_20151123.xmd
2018-02-25 | present | SGP

## 635
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
| Owned by ARM | [12 empty] | Uses Barr filters or first batch of Intor filters
2012-08-01 | 2015-08-01 | DSRC |  | Delivery
2012-09-17 | 2012-11-26 | SKA |  | Langley
Ask Joe for interim information
2015-07-16 | 2015-09-03 |  |  | Langley
2015-09-04 | 2015-09-26 | CUCF |  | Laboratory Characterizations
2015-09-28 | 2015-10-15 | PMOD |  | IFC Campaign
2015-10-27 |  | SKA | mfr634_20151102.xmd
2018-02-25 | Present | SGP

## 648
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2013-03-01 | 2013-03-01 | YES | [11 empty] | Order date
2013-09-01 | 2013-09-01 | DSRC |  | New | [9 empty] | Delivery? Uses Barr filters or first batch of Intor filters
2013-08-29 | 2014-07-14 | SKA | mfr648_20140110.xmd; mfr648_20140528.xmd | Langley | [9 empty] | Unknown exact stop date
2014-07-14 | 2016-07-14 | DSRC |  | Licor
2014-07-25 | 2016-06-27 | SLV | Archive | SFIP | [9 empty] | mfr648_201604211755.xmd to mfr648_201604251400.xmd - Delete, lat and long set to MLO
2016-07-18 | 2016-07-18 | DSRC |  | Licor | [9 empty] | Dirty diffusers; 649 has brown edges on diffuser; pink dessicant
2016-07-25 | 2016-07-25 | DSRC |  | Licor | [9 empty] | Cleaned diffusers; inside-outside Licor tests for temperature effect
2016-07-25 | 2016-08-17 | CUCF |  | Laboratory
2016-08-15 | 2015-08-16 | DSRC |  | Licor | [9 empty] | Inside-outside tests
2016-08-16 | 2016-10-01 | SKA | Archive | Side-by-Side/Langley
2016-09-26 | 2016-09-26 | DSRC | Archive, spread-sheet | OOB
2016-09-29 | 2016-09-29 | DSRC | mfr648_201609291804.xmd; mfr649_201609291806.xmd | OOB
2017-03-17 | 2017-03-20 | DSRC |  | Side-by-Side/Langley?
2017-03-27 | 2017-04-11 | RED | Red_Lake | GOES-R/Langley
2017-04-20 |  | DSRC |  | Side-by-Side/Langley
|  | CUCF |  | Laboratory
|  | CUCF |  | Licor
2018-02-22 |  | MLO |  | Langley
2019-06-10 |  | CUCF |  | Laboratory
2019-06-24 | 2019-10-21 | CHE |  | Cheesehead
2019-10-25 | - | CUCF |  | Laboratory
2020-03-10 |  | CUCF |  | Laboratory tests
2020-03-16 | planned | SKA |  | Langley tests for prior to FRC
2020-03-26 | 2021-03-11 | TBL |  | Data-Collection/Langley prep for FRC
2021-03-12 | 2021-05-13 | CUCF |  | Laboratory
2021-05-17 |  |  |  | Gary's Office
2021-05-31 | planned | TBL |  | Data-Collection/Langley prep for FRC
2021-07-14 |  | DSRC |  | Temporarily removed to make room for instruments for FRC (688/689, 663/662). Likely want to reinstall these.
2021-09-15 | planned | FRC | Did not happen | FRC Campaign, Davos, Switzerland
2021-10-15 |  | CBC |  | Brush Creek, paired with 649
2023-11-16 | 2025-10-20 | NAN |  | WFIP-3 Campaign (Nantucket?) - returned early; paired with 649
2025-08-20 | 2025-08-26 | CUCF |  | Characterized in CUCF, wet
2025-09-20 | 2025-10-22 | DAV |  | Deploy to PMOD FRC Campaign in Davos
2026-04-14 | present | INL |  | Deploy to INL, Idaho Falls, ID site? | [8 empty] | 648/649

## 649
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2013-03-01 | 2013-03-01 | YES | [11 empty] | Order date
2013-09-01 | 2013-09-01 | DSRC |  | New | [9 empty] | Delivery? Uses Barr filters or first batch of Intor filters
2014-01-10 | 2014-07-01 | SKA | mfr649_20140110.xmd; mfr649_20140528.xmd | Langley | [9 empty] | Unknown exact stop date
2014-07-14 | 2016-07-14 | Boulder |  | Licor
2014-07-21 | 2016-06-27 | SLV | Archive | SFIP
2016-07-18 | 2016-07-18 | DSRC |  | Licor
2016-07-25 | 2016-07-25 | DSRC |  | Licor
2016-07-25 | 2016-08-14 | CUCF |  | Laboratory
2016-08-15 | 2016-08-16 | DSRC |  | Licor
2016-08-17 | 2016-10-01 | DSRC | Archive | Side-by-Side
2016-09-26 | 2016-09-26 | DSRC | Archive, spread-sheet | OOB
2016-09-29 | 2016-09-29 | DSRC | mfr648_201609291804.xmd; mfr649_201609291806.xmd | OOB
2017-03-27 | 2017-04-11 | Red_Lake |  | GOES-R
2017-04-20 | present | DSRC |  | Side-by-Side
|  | CUCF |  | Laboratory
2019-06-24 | 2019-10-21 | CHE |  | CHEESEHEAD
2019-10-25 | - | CUCF |  | Laboratory
2020-03-10 | present | CUCF |  | Laboratory tests
2020-03-16 | planned | SKA |  | Langley tests for prior to FRC
2020-03-26 | 2021-03-11 | TBL |  | Data-Collection/Langley prep for FRC
2021-03-12 | 2021-05-13 | CUCF |  | Laboratory
2021-05-13 | present | TBL |  | Data-Collection/Langley prep for FRC
2021-09-15 | planned | FRC | Did not happen | FRC Campaign, Davos, Switzerland
2021-10-15 |  | CBC |  | Brush Creek, paired with 648
2024-10-24 | 2025-10-20 | NAN |  | WFIP-3 Campaign (Nantucket) - Returned early; paired with 648
2025-08-20 | 2025-08-26 | CUCF |  | Characterized in CUCF, wet
2025-09-20 | 2025-10-22 | DAV |  | Deploy to PMOD FRC Campaign in Davos
|  | INL |  | Deploy to INL, Idaho Falls, ID site?

## 650
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2013-03-01 | 2013-03-01 | YES | [11 empty] | Order date
2013-09-01 | 2013-09-01 | DSRC |  | New | [9 empty] | Delivery to JM, date?
2014-01-10 | 2014-07-01 | SKA | mfr650_20140110.xmd; mfr650_20140528.xmd | Langley | [9 empty] | Unknown exact stop date; Likely Joe removed this instrument
2014-07-16 | 2015-07-16 | PST |  | Deployed | [8 empty] | Table
2015-07-15 | 2016-09-30 | CUCF |  | Laboratory
2015-09-08 | 2015-09-08 | SKA | mfr650_20150908.xmd | OOB
2016-09-30 | 2016-10-07 | SKA |  | Side-by-Side
2016-10-01 | 2016-10-01 | SKA | mfr650_201610011931.xmd; mfr651_201610011927.xmd | OOB | [8 empty] | 650/651
2016-10-07 | 2016-10-07 | CUCF | mfr650_20161007.xmd;mfr650_lamp1030_20161007 | LICOR | [8 empty] | 650/651
2016-10-18 | present | FPE |  | Field | [8 empty] | 650/651

## 651
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2013-03-01 | 2013-03-01 | YES | [11 empty] | Order date
2013-09-01 | 2013-09-01 | DSRC |  | New | [8 empty] | Delivery to JM, date?
2013-09-12 | 2016-09-21 | SXF |  | Field | [8 empty] | Table; o command fixed on Dec 4, 2014
2016-09-22 | 2016-09-29 | CUCF |  | Laboratory_characterization
2016-09-30 | 2016-10-07 | SKA |  | Side-by-Side
2016-10-01 | 2016-10-01 |  | mfr_650_201610011931.xmd; mfr651_201610011927.xmd | OOB | [8 empty] | 650/651
2016-10-07 | 2016-10-07 | CUCF | mfr651_20161007.xmd;mfr651_lamp1030_20161007 | LICOR | [8 empty] | 650/651
2016-10-17 | present | FPE |  | Field | [8 empty] | 650/651

## 659
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery | [9 empty] | Note serial numbers 659 and higher use a new batch of INTOR filters. These instruments were delayed.
2015-04-30 | 2015-06-30 | TBL | Archive
2015-05-01 | 2016-05-01 | YES |  | kg5_filter_673nm | [9 empty] | Already has kg5 installed (see email from Bob LaShay 5/11/2015)
2015-05-02 | 2015-05-02 | TBL |  | OOB
2015-06-19 | 2015-06-19 | TBL |  | OOB | [9 empty] | These tests are on the heads and do not necessarily use their own loggerbox
2015-07-14 | 2015-07-22 | YES |  | install_kg5_415 | [9 empty] | KG5 Filter install in 415-nm
2015-08-11 | 2015-09-02 | TBL |  | OOB Plus | [9 empty] | Test OOB
2015-09-07 | 2015-09-11 | YES |  | remove_kg5_415 | [9 empty] | Remove KG5 in 415-nm Channel because signal too low; New 415-nm filter was installed
2016-06-02 | 2016-06-02 | DSRC | mfr659_lamp103006022016 | Licor | [9 empty] | Pre DSRC side-by-side
2016-06-09 | 2016-07-15 | SKA | Archive | Side-by-side | [8 empty] | 659/671 | Pre-SXF; 671=mfrsr3; 659=mfrsr4
2016-06-06 | 2016-06-06 | SKA | Archive | OOB
2016-07-18 | 2016-07-18 | DSRC |  | Licor | [9 empty] | Pre SXF; Check to see when KG5 was added and removed
2016-07-15 | 2016-09-15 | CUCF |  | Laboratory tests
2016-09-20 | present | SXF |  | Field

## 660
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-05-06 | 2016-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-03 | 2015-06-25 | TBL |  | Field_Tests
2015-06-19 | 2015-06-19 | TBL |  | OOB | [9 empty] | These tests are on the heads and do not necessarily use their own loggerbox
2015-06-29 | 2015-06-29 | DSRC |  | Licor | [8 empty] | 660/661
2015-07-16 | 2016-08-19 | TBL |  | Side-by-Side | [8 empty] | 660/661
2015-10-14 | 2016-08-19 | TBL | Archive | Side-by-side | [8 empty] | 660/661
2016-08-23 | present | TBL | Archive | Field | [8 empty] | 660/661

## 661
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-05-06 | 2015-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-03 | 2015-06-22 | TBL |  | Field_Tests
2015-06-19 | 2015-06-19 | TBL |  | OOB | [9 empty] | These tests are on the heads and do not necessarily use their own loggerbox
2015-06-22 | 2015-06-22 | TBL |  | OOB | [9 empty] | Not sure if also did 665?; These tests are on the heads and do not necessarily use their own loggerbox
2015-06-29 | 2015-06-29 | DSRC |  | Licor | [8 empty] | 660/661
2015-07-16 | 2016-08-19 | TBL |  | Side-by-Side | [8 empty] | 660/661
2015-10-14 | 2016-08-19 | TBL | Archive | Side-by-side | [8 empty] | 660/661
2016-08-23 | present | TBL | Archive | Field | [8 empty] | 660/661

## 662
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-04-30 | 2015-05-06 | TBL | Archive
2015-05-02 | 2015-05-02 | TBL |  | OOB | [9 empty] | OOB in 673_nm
2015-05-06 | 2015-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-01 | 2015-06-03 | TBL |  | OOB
2015-06-29 | 2015-06-29 | DSRC |  | Licor | [8 empty] | 664/662 | Heater board issue for either 662 or 664 that did not appear to affect signals but possibly thermopile channel. Not sure dates either, ask JA.
2015-06-30 | 2015-07-09 | TBL | Archive | Side-by-side | [8 empty] | 664/662
2015-07-15 | present | PSU | Archive | Deployed | [8 empty] | 664/662 | Having trouble with response at high sun for channel 860-nm. Laboratory tests were never finished due to a Unidex problem that has been fixed (when?).
2019-10-10 | present | CUCF |  | Laboratory characterizations | [9 empty] | summer-2020 future
Return to PSU MFR10 to restore original pairing
2021-10-01 | planned | CKP |  | SAIL-SPLASH Kettle Ponds, paired with 663
2024-11-01 | planned | BLK |  | WFIP-3 Block Island, MFRSR

## 663
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-04-14 | 2015-05-06 | TBL |  | Side-by-side | [9 empty] | New Motor on 4/21/2015
2015-05-02 | 2015-05-02 | TBL |  | OOB | [9 empty] | OOB in 673_nm
2015-05-06 | 2015-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-01 | 2015-06-03 | TBL |  | OOB
2015-06-22 | 2015-06-25 | TBL |  | Side-by-side | [8 empty] | 663/665
2015-06-26 | 2015-06-26 | DSRC |  | Licor | [8 empty] | 663/665
2015-07-01 | 2017-06-01 | GWN |  | Deployed | [8 empty] | 663/665
2017-06-01 | 2017-06-05 | GWN |  | Remove from site because problems with angular response in 860nm
2017-06-09 | present | CUCF |  | Laboratory studies | [9 empty] | Having trouble with response at high sun for channel 860-nm. Laboratory tests were never finished due to a Unidex problem that has been fixed (when?).
2021-10-01 | planned | CKP |  | SAIL-SPLASH Kettle Ponds, paired with 662
2024-11-01 | planned | BLK |  | WFIP-3 Block Island, MFR

## 664
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-04-27 | 2015-04-30 | YES |  | o-ring | [9 empty] | Shipped back to YES to have o-ring installed
2015-05-06 | 2016-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-03 | 2015-06-19 | TBL |  | Field_Tests
2015-06-19 | 2015-06-19 | TBL |  | OOB | [9 empty] | These tests are on the heads and do not necessarily use their own loggerbox
2015-06-29 | 2015-06-29 | DSRC |  | Licor | [8 empty] | 664/662
2015-06-30 | 2015-07-09 | TBL | Archive | Side-by-side
2015-07-15 | present | PSU |  | Deployed | [8 empty] | 664/662 | Having trouble with response at high sun for channel 860-nm; Note this does not use the original loggerbox but the loggerbox for 665?
2019-10-10 | present | PSU |  | Continue | [8 empty] | 664/665 | Kept 664 as MFRSR to continue record with temperature corrections but 662 needed to be returned for checks as to why there was spurious data points

## 665
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2014-02-10 | 2014-03-05 | YES | [11 empty] | Order date
2015-03-22 | 2015-04-06 | YES-DSRC |  | Delivery
2015-04-14 | 2015-05-06 | TBL |  | Side-by-side | [8 empty] | 663/665
2015-05-02 | 2015-05-02 | TBL |  | OOB | [9 empty] | OOB in 673_nm
2015-05-06 | 2015-05-16 | YES |  | kg5_filter_673nm | [9 empty] | Detectable OOB in channel 673 nm. Sent to YES for KG5 filter installed. Note; New cal files sent but sol files are same as before.
2015-06-01 | 2015-06-03 | TBL |  | OOB
2015-06-19 | 2015-06-25 | TBL |  | Field
2015-06-22 | 2015-06-22 | TBL |  | OOB | [9 empty] | Not sure if OOB was done on this or 661, should have been 665, check.
2015-06-22 | 2015-06-25 | TBL |  | Side-by-side | [8 empty] | 663/665
2015-06-26 | 2015-06-26 | DSRC |  | Licor | [8 empty] | 663/665
2015-06-30 | Present | GWN |  | Deployed | [8 empty] | 663/665 | MFRSR/MFR10
2017-06-01 | 2017-06-05 | GWN |  | Remove from site with 663 because problems with angular response in 860nm in 665.
2017-06-09 | 2019-10-10 | CUCF |  | Laboratory studies
2019-10-10 | present | PSU |  | Deployed | [8 empty] | 664/665 | Kept 664 as MFRSR to continue record with temperature corrections but 662 needed to be returned for checks as to why there was spurious data points.
2020-03-10 | present | PSU | [11 empty] | Problem with MFR10 is with the board not the MFR.

## 669
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2015-04-15 | 2015-04-15 | YES | [11 empty] | Order date
2015-08-31 | 2015-08-31 | DSRC |  | Delivery
2015-09-04 | 2015-09-04 | SKA |  | OOB | [9 empty] | Note using 672 data logger
2015-11-02 | 2015-11-02 | DSRC |  | Licor | [8 empty] | 669/670
2015-11-02 | 2015-11-09 | SKA | mfr669_20151109.xmd | Side-by-side | [8 empty] | 669/670
2015-11-14 | present | DRA |  | Field | [8 empty] | 669/670

## 670
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2015-04-15 | 2015-04-15 | YES | [11 empty] | Order date
2015-08-31 | 2015-08-31 | DSRC |  | Delivery
2015-09-08 | 2015-09-08 | SKA | mfr670_20150908.xmd | OOB
2015-11-02 | 2016-11-02 | DSRC |  | Licor | [8 empty] | 669/670
2015-11-02 | 2015-11-09 | SKA | mfr669_20151109.xmd | Side-by-side | [8 empty] | 669/670
2015-11-14 | present | DRA |  | Field | [8 empty] | 669/670

## 671
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2015-04-15 | 2015-04-15 | YES | [11 empty] | Order date
2015-08-31 | 2015-08-31 | DSRC |  | Delivery
2015-09-04 | 2015-09-04 | SKA |  | OOB | [9 empty] | Bust, no data; Note using 670 data logger
2015-09-08 | 2015-09-08 | SKA |  | OOB
2016-06-02 | 2016-06-02 | SKA | mfr671_lamp103006022016 | Licor
2016-06-09 | 2016-07-15 | SKA | Archive | Side-by-side | [9 empty] | Pre-SXF; 671=mfrsr3; 659=mfrsr4; reset shadowband 6/6/2016
2016-06-06 | 2016-06-06 | SKA |  | OOB
2015-06-17 | 2016-06-23 | SKA |  | Reset_shadowband | [9 empty] | See email 6/23/2017
2016-07-18 | 2016-07-18 | DSRC |  | Licor | [9 empty] | Pre-SXF
2016-07-19 | 2016-09-20 | CUCF |  | Laboratory_tests
2016-09-20 | present | SXF |  | Field

## 672
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2015-04-15 | 2015-04-15 | YES | [11 empty] | Order date
2015-08-31 | 2015-08-31 | DSRC |  | Delivery
2015-09-08 | 2015-09-08 | SKA |  | OOB
2015-11-13 | 2015-11-13 | SKA | mfr672_20151113.xmd | OOB | [8 empty] | 672/673
2015-11-13 | 2015-11-23 | SKA | Archive | Side-by-side | [8 empty] | 672/673
2015-12-02 | 2016-06-03 | SKA | mfr673_20151123.xmd | Side-by-side | [8 empty] | 672/673 | Battery died
2016-06-02 | 2016-06-02 | SKA | Archive | OOB | [9 empty] | Cloudy
2016-06-03 | 2016-06-03 | SKA | Archive | OOB
2016-06-10 | 2016-06-10 | DSRC | mfr672_lamp1030_20170610 | Licor | [8 empty] | 672/673
2016-06-03 |  | CUCF |  | Laboratory_tests
2016-06-16 | Present | BND |  | Field | [8 empty] | 672/673 | MFRSR is not communicating.

## 673
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2015-04-15 | 2015-04-15 | YES | [11 empty] | Order date
2015-11-10 | 2015-11-10 | DSRC |  | Delivery | [8 empty] | Late delivery because of delayed photodiode delivery for last instrument
2015-11-13 | 2015-11-13 | SKA | mfr673_20151113.xmd | OOB | [8 empty] | 672/673
2015-11-13 | 2015-11-23 | SKA | Archive | Side-by-side | [8 empty] | 672/673
2015-12-02 | 2016-06-02 | SKA | mfr673_20151123.xmd | Side-by-side | [8 empty] | 672/673
2016-06-02 | 2016-06-02 | SKA | Archive | OOB | [8 empty] | 672/673 | Cloudy
2016-06-03 | 2016-06-03 | SKA | Archive | OOB | [8 empty] | 672/673
2016-06-10 | 2016-06-10 | DSRC | mfr673_lamp1030_20170610 | Licor | [8 empty] | 672/673
2016-06-03 |  | CUCF |  | Laboratory_tests
2016-06-16 | Present | BON |  | Field | [8 empty] | 672/673

## 688
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2021-12-15 |  | 2D401 | [11 empty] | Running in lab for testing. Believe the daughter board for the memory card is bad. Need to test further to make sure. Also using to test why we get a data gap with xtty. Mark Beaubien is working with GH on this.
2021-03-01 | 2021-03-15 | CUCF |  | Laboratory calibrations | [9 empty] | From Charles: Photodiode A4828 and the filter with a 1623.0nm centroid.
OOB
| planned 10/1/2021 | Kettle-Ponds |  | SAIL-SPLASH | [9 empty] | did not happen, 662 and 663 where sent instead
2021-08-01 |  | YES |  | Repair of two issues 1) signal recording drops; 2) ...

## 689
Date_start | Date_stop | Location | Filename | Purpose | Thermistor | Thermopile | 415 | 500 | 1625 | 675 | 860 | 940 | Table/Tower | Notes
2020-12-15 |  | 2D401 | [11 empty] | Running in lab for testing. Ch415 was giving spurrious values, but that may have been a poor connection. Need more testiing. Also using to test why we get a data gap with xtty. Mark Beaubien is working with GH on this.
2021-03-01 | 2021-03-15 | CUCF |  | Laboratory calibrations | [9 empty] | Angular response for head 00689 showed a large tilt to the South and West
|  |  |  | OOB | [9 empty] | From Charles: Photodiode A4829 with the 1623.2nm centroid filter.
2021-10-01 | planned | Kettle-Ponds |  | SAIL-SPLASH
2021-08-01 |  | YES |  | Repair of two issues 1) signal recording drops; 2) ...

## Notes
See sheet MFRSR_history.xlxs for summary of instruments, filters, and delivery, destinations, tests
The CUCF has a hardcopy sheet of when instruments were calibrated/characterized in the laboratory.
Note: These instruments have a 1625 nm channel that replaces the 615 nm channel. We purchased the 1625 nm filters from INTOR and the photodetectors from Pacer (Excelitas) and sent them to Yankee. The filter functions were measured by us and sent to Yankee and are used in the SOL files.
Delivery
632 08/2012
633 08/2012
648 07/2014
649 07/2014
659 04/2015
660 05/2015
661 05/2015
662 05/2015
663 05/2015
664 05/2015
665 05/2015
669 08/2015
670 08/2015
671 08/2015
672 08/2015
673 08/2015
1) 08/2012: Delivered, I believe 632 and 633 use Barr Filters. All these have a kg5 filter for channel 673 nm to eliminate out-of-band (OOB).
2) 07/2014: Delivered, I believe 648 through 651 use Barr Filters. All these have a kg5 filter for channel 673 nm to eliminate out-of-band (OOB).
3) MFRSR 659 uses set of INTOR filters we purchased. This instrument did not have an OOB problem in channel 673 nm. They isntalled a kg5 filter in this instrument thinking it was Barr filters.
4) 05/2015: MFRSRs 660-665 use a new set of INTOR filters. There was a long delay in receiving this order due to filter back order.
5) 06/2015: These needed to be returned to Yankee because they needed a KG5 filter in channel 673 nm. Yankee assumed the problem was only with Barr filters.
5) 07/14/2015: It was noted that MFRSR 659 had about 4 counts in channel 415 nm above dark (OOB). This instrument was sent back for installation of a kg5 filter in this 415 nm channel on 7/14/2015.
6) 07/21/2015: MFRSR 659 was returned to us from Yankee after kg5 filter install in channel 415 nm.
6) 08/2015: Delivered, MFRSRs 669-673 also use the new set of INTOR filters.
7) 09/2015: MFRSR 659 the signal was too low in the 415 nm with the kg5 filter. We sent it back to have it removed. I believe they needed to replace the 415 nm interference filter also since it was "glued" to the kg5 filter, or removing the kg5 filter would damage the underlying filter.